Spare parts

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Available for: | **40 W** | **75 W** |
| A | B280002AM | Lamp Blue Lagoon T5 40 W Ionizer Base K AM Packed | √ |  |
| B280001AM | Lamp Blue Lagoon T5 75 W Ionizer Base K AM Packed |  | √ |
| B | QG017 | Quartz glass VSC 695 x 25 mm 40/75 W AM | √ | √ |
| C | E800912 | Set O-ring for quartz glass | √ | √ |
| D | EP040007 | Electrics for BL UV-C Ionizer 40 W | √ |  |
| EP075011 | Electrics for BL UV-C Ionizer 75 W |  | √ |
| E | B220002 | Housing  BL Ionizer  UV-C 40/75 W | √ | √ |
| F | B915000 | Set 3-way connection blue 63 mm | √ | √ |
| E800944 | Set 3-way connection USA-UK 60½ mm | √ | √ |
| G | E800941 | Set O-rings 3-way connection | √ | √ |
| H | F990115 | Reduction piece 1.5'' female threaded x 63 mm out/ 50 mm in ABS | √ | √ |
| I | B290006 | Mounting bracket 75 mm PP blue | √ | √ |
| K | E801215 | Nut 70 mm x 33.5 mm for end cap ABS blue | √ | √ |
| W | B290010 | Cable connector | √ | √ |
| X | B290029 | Copper set base + cable connector | √ | √ |
| Y | B200020 | Test strips for Ionizer (50 strips) | √ | √ |
|  |  |  |  |  |
|  | Optional sets | |  |  |
| G F H | SP0094 | Blue Lagoon Connection Kit |  |  |
| G F H | SP0097 | Blue Lagoon Connection Kit USA-UK |  |  |