Spare parts

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Available for: | **75 W** | **130 W** |
| A | E800902PAM | Lamp Philips TUV 36T5 75 W HO 4P-SE Base C AM Packed | √ |  |
| E800904AM | Lamp Philips TUV XPT 130 W 4P-SE Amalgam Base E AM Packed |  | √ |
| B | QG015 | Quartz glass VSC 933 x 25 mm 40/75/80 W AM | √ |  |
| QG012 | Quartz glass VSC 920 x 30 mm 130/140 W AM |  | √ |
| C | E800912 | Set O-ring for quartz glass | √ | √ |
| D | EP075010.1 | Electrics for BL UV-C INOX 75 W incl. flow switch | √ |  |
| EP130007 | Electrics for BL UV-C INOX 130 W Amalgam incl. flow switch |  | √ |
| E | B212002 | Housing for BL Inox UV-C | √ | √ |
| M | B290020 | Reduction piece 63/63 mm 3/4” male threaded for flow switch | √ | √ |
| B290021 | Reduction piece 60.3/60.3 mm 3/4” USA-UK male threaded  for flow switch | √ | √ |
|  |  |  |  |  |
| \* | Optional part | |  |  |
| V | SP0070 | Tapping saddle 50 x 3/4" male thread for flow switch |  |  |
| SP0071 | Tapping saddle 63 x 3/4" male thread for flow switch |  |  |
| SP0072 | Tapping saddle 75 x 3/4" male thread for flow switch |  |  |