Spare parts

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Available for: | **40 W** | **75 W** | **130 W** |
| A | E800901LAM | Lamp LightTech T5 40 W 4P-SE Base C AM Packed | √ |  |  |
| E800902LAM | Lamp LightTech T5 75 W 4P-SE Base C AM Packed |  | √ |  |
| F980005AM | Lamp VGE LightTech T6 130 W Amalgam  4P Base E AM Packed |  |  | √ |
| B | QG015 | Quartz glass VSC 933 x 25 mm AM | √ | √ |  |
| QG012 | Quartz glass VSC 920 x 30 mm AM |  |  | √ |
| C | E800912 | Set O-ring for quartz glass | √ | √ | √ |
| D | EP040004 | Electrics for BL Timer UV-C 4ALL 40 W | √ |  |  |
| EP075006 | Electrics for BL Timer UV-C 4ALL 75 W |  | √ |  |
| EP130006 | Electrics for BL Timer UV-C 4ALL 130 W Amalgam |  |  | √ |
| E | H170054 | Housing BL Timer UV-C Duplex/4ALL 40/75/130W | √ | √ | √ |
| F | B915000 | Set 3-way connection blue 63 mm | √ | √ | √ |
| E800944 | Set 3-way connection USA-UK 60½ mm | √ | √ | √ |
| G | E800941 | Set O-rings 3-way connection | √ | √ | √ |
| H | F990115 | Reduction piece 1.5'' female threaded x 63 mm out/ 50 mm in ABS | √ | √ | √ |
| I | B290006 | Mounting bracket 75 mm PP blue | √ | √ | √ |
| K | B290010 | Nut 70 mm x 33.5 mm for end cap ABS blue | √ | √ | √ |
| M | B290020 | Reduction piece 63/63 mm  3/4” male threaded for flow switch | √ | √ | √ |
| B290021 | Reduction piece 60.3/60.3 mm  3/4” USA-UK male threaded for flow switch | √ | √ | √ |
| N | F990196BU | Closing lid black | √ | √ | √ |
| Z | SP0095 | Quartz glass Stabilizer Replacement Kit | √ | √ | √ |
|  |  |  |  |  |  |
| \* | Optional part | |  |  |  |
| V | SP0070 | Tapping saddle 50 x 3/4" male thread for flow switch |  |  |  |
| SP0071 | Tapping saddle 63 x 3/4" male thread for flow switch |  |  |  |
| SP0072 | Tapping saddle 75 x 3/4" male thread for flow switch |  |  |  |
|  | Optional sets | |  |  |  |
| G F H | SP0094 | Blue Lagoon Connection Kit |  |  |  |
| G F H | SP0097 | Blue Lagoon Connection Kit USA-UK |  |  |  |