Technical specifications

|  |  |
| --- | --- |
|  | **Xpose 42 W** |
| Article number | BE09422 |
| Type | 42 W |
| EAN | 8714404040693 |
| Maximum flow for 30 mJ/cm2 | 14 m³/h - 230 L/min |
| Maximum pressure | 1 bar |
| Diameter unit Ø | 200 mm |
| Length unit | 55 cm |
| In/outlet connections Ø | 32 mm/38 mm flexible tube/50 mm hard tube |
| Housing material | High quality copolymer |
| Lifespan lamp | 9 000 hours |
| Indicator | √ |