Spare parts

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Available for: | 75 W Timer | 75 W |
| A | 4800033AM | Lamp VGE T5 75 W Ozon Base H AM Packed | √ | √ |
| B | QG109 | Quartz glass VSC 925 x 30 mm open end AM | √ | √ |
| C | E800912 | O-Ring for quartz sleeve | √ | √ |
| D | EP075070 | Electrics for BL Xpert  Compact AOP UV-C Timer 75 W | √ |  |
| EP075083 | Electrics for BL Xpert  Compact AOP UV-C 75 W |  | √ |
| E | H170024 | Housing BL Xpert Compact AOP UV-C | √ | √ |
| F | B915000 | Set 3-way connection blue 63 mm | √ | √ |
| E800944 | Set 3-way connection USA-UK 60½ mm | √ | √ |
| G | E800941 | Set O-rings 3-way connection | √ |  |
| H | F990115 | Reduction piece 1½” female threaded x 63mm out/50mm in ABS | √ | √ |
| I | B290006 | Mounting bracket 75 mm PP blue | √ | √ |
| J | 4800106 | End cap AOP with single air plug black | √ | √ |
| K | B290010 | Nut 70 mm x 33.5 mm ABS blue | √ | √ |
| L | 3902158 | O-ring NBR 57 mm x 2.5 mm | √ | √ |
| N | 3902269 | Sealing set BL Xpert Compact AOP UV-C | √ | √ |
| P | 4800068 | Venturi unit BL Xpert Compact AOP UV-C (excl. manometer) | √ | √ |
| Q | 4800057 | Manometer BL Xpert Compact AOP UV-C | √ | √ |
| R | 4800145 | Ozone Viton Check valve + hose  (short 16 cm + 72 cm) | √ | √ |
| S | 4800020 | PU hose black for Ozone | √ | √ |
| T | F990196BU | Closing lid black | √ | √ |
| V | 3901013 | Open Glass adapter T-piece ABS Black | √ | √ |
|  |  |  |  |  |
| \* | For pre 2021 model, please see our website | |  |  |
|  |  |  |  |  |
|  | Optional sets | |  |  |
| G F H | SP0094 | Blue Lagoon Connection Kit | √ | √ |
| G F H | SP0097 | Blue Lagoon Connection Kit USA-UK | √ | √ |