Spare parts

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Available for: | **80 W** | **140 W** |
| A | F980010AM | Lamp VGE T5 80 W 4P Base X AM Packed | √ |  |
| F980020AM | Lamp VGE T6 140 W Amalgam 4P Base X |  | √ |
| B | QG015 | Quartz glass VSC 933 x 25 mm 40/75/80 W AM | √ |  |
| QG012 | Quartz glass VSC 920 x 30 mm 130/140 W AM |  | √ |
| C | E800912 | Set O-ring for quartz glass | √ | √ |
| D | EP080008 | Electrics for BL Xpert Duplex UV-C 80 W | √ |  |
| EP130021 | Electrics for BL Xpert Duplex UV-C 140 W  incl. flow switch |  | √ |
| E | H170004 | Housing BL Xpert UV-C Duplex 80 W/140 W | √ | √ |
| F | B915000 | Set 3-way connection blue 63 mm | √ | √ |
| E800944 | Set 3-way connection USA-UK 60½ mm | √ | √ |
| G | E800941 | Set O-rings 3-way connection | √ | √ |
| H | F990115 | Reduction piece 1.5'' female threaded  x 63 mm out/ 50 mm in ABS | √ | √ |
| I | E801107 | Mounting bracket 75 mm PP black | √ | √ |
| K | B290010 | Nut 70 mm x 33.5 mm for end cap ABS blue | √ | √ |
| M | B290020 | Reduction piece 63/63 3/4” male thread for flow switch | √ | √ |
| B290021 | Reduction piece 60.3/60.3 3/4” USA-UK male thread for flow switch | √ | √ |
| N | F990196BU | Closing lid black | √ | √ |
| O | B290009 | Nut 83.5 mm x 32 mm ABS blue | √ | √ |
| Z | SP0095 | BL quartz glass stabilizer replacement Kit | √ | √ |
|  |  |  |  |  |
| \* | Optional part | |  |  |
| V | SP0070 | Tapping saddle 50 x 3/4" male thread for flow switch |  |  |
| SP0071 | Tapping saddle 63 x 3/4" male thread for flow switch |  |  |
| SP0072 | Tapping saddle 75 x 3/4" male thread for flow switch |  |  |
|  | Optional sets | |  |  |
| G F H | SP0094 | Blue Lagoon Connection Kit |  |  |
| G F H | SP0097 | Blue Lagoon Connection Kit USA-UK |  |  |