Spare parts

|  |  |  |
| --- | --- | --- |
| A | F980600 | Lamp Blue Lagoon MP 400 W SBT |
| B | QG101 | Quartz glass MP 195 x 38 x 1,5 mm 400 - 600 W (incl. seal service set) |
| D | EPM00402 | Blue Lagoon Xpert UV Electrical Part MP Compact 400 |
| G | SP0054 | Seal Service Set MP UV-C |
|  |  |  |
| Optional | | |
|  | SP0058 | Torque screwdriver |