Spare parts

|  |  |  |
| --- | --- | --- |
| A | F980605 | Lamp Blue Lagoon MP 600 W SBT |
| B | QG101 | Quartz glass MP 195 x 38 x 1,5 mm 400 - 600 W (incl. seal service set) |
| D | EPM00603 | Blue Lagoon Xpert UV Electrical Part MP Compact 600 |
| Y | B212103 | Stainless steel 316L plug 1/4” with collar |
| Z | SP0054 | Seal Service Set MP UV-C |
|  | | |
| Optional | | |
|  | SP0058 | Torque screwdriver |